## ResponseTemplate_Updated_031826
Updated 03/18/26
Date | Organization Name (Optional. If blank, your comments will posted publicly without associated organization name) | Category (Stakeholder Process, High-level Comment, Program Name, etc) | Summary Comment (1 sentence summary of point. Please consider providing specific recommendation to NHSaves) | Detailed Comment (Additional detail, links, etc to clarify summary comment)
2025-09-23 | The Ad Hoc Group | Program Type | Suggest discussion on innovative home energy assessment opportunities | Per NEEP's recent report, stakeholders should discuss ways to ensure better uptake of weatherization opportunities through use of home energy assessments. Solutions like HomeBoost can enable HEAs at a lower cost, and are well suited to reaching NH's rural residents. We suggest a presentation of the HomeBoost solution and other advances in HEAs.
2025-09-23 | The Ad Hoc Group | Program Type | Suggest discussion on prepay as an energy efficiency solution | A review of 16 prepaid electricity programs by ACEEE and Slipstream found an average of 9% energy savings for participants. New models of prepaid electricity do not require modifications to customer protectiosn rules and do not rely on shut offs. Exceleron can discuss advanced in prepaid electricity and how customer engagement and linkages to demand response programs can deliver significant energy and peak demand savings.
2025-09-23 | IEc/OCA | Evaluation | Provide schedule of when in-process evaluation results will be shared with stakeholders. | Provide schedule of when in-process evaluation results will be shared with stakeholders (for HEA, HEP, SB, resi non-participant, and C&I NC). Ideally, evaluation results should be distributed at least 3 weeks prior to the meeting when the relevant program update will be discussed, to allow stakeholders time to consider results and how they may inform future program design.
2025-09-23 | IEc/OCA | Stakeholder Process | We need an early session to discuss overarching program design and methodological considerations. | The current schedule leaves little for discussion of overarching program design and methodological considerations. These include, but are not limited to: on-bill financing; pay for performance approaches; total systems benefits metric; and discount rate. We are concerned that the current calendar and approach will have the practical effect of precluding more significant program changes. We suggest moving up the "open slot" meeting in March to the October slot, and to reframe it as a session for discussing overarching program design issues that span programs, and subsequently move the other sessions out one month.
2025-09-23 | IEc/OCA | High-level Comment | Request discussion of dropping discount rate used in BCA models to 2.0%. | Request discussion of dropping discount rate used in BCA models to 2.0%. Numerous arguments can be made for adopting a 2.0% rate. The federal OMB updated its guidance for discount rates in 2023 for federal public policy cost/benefit analysis to reflect the evolution in economic literature and sentiment regarding appropriate use of discount rates for public policy impacts. The updated guidance in OMB Circular A-4 indicates to use a real discount rate of 2% when evaluating impacts of public policy. OMB arrived at 2% by using a 30-year average of the yield on 10-year Treasury Inflated Protected Securities (TIPS). Also, the 2019 GST manual advises NH utilities to continue to use a low risk discount rate with BCA testing. We assume this recommendation reflects both general advice of Synapse experts who drafted the manual, as well as a plurality of stakeholder preference expressed during the GST stakeholder process. But the manual does not prescribe a specific rate, and NH policy does not prescribe one either. It appears to be within the purview of NH utilities to propose a specific discount rate to use for BCA testing for NH Saves. Given the constraints faced by utilities in administering NH Saves, it seems reasonable to explore the use of financial levers that are within the utilities' influence, and may help meet ratepayer demand for cost-effective EE assistance.
2025-09-23 | IEc/OCA | High-level Comment | Request discussion of expanding on-bill financing for residential programs. | As discussed in the DNV 2023 NH Market Barriers Study and during the kickoff call, upfront costs remain a key barrier to residential weatherization and to purchasing more efficient equipment and appliances. Request discussion of potential expansion of on-bill financing for residential programs.
2025-09-23 | IEc/OCA | High-level Comment | Request discussion of a potential total system benefits metric. | NEEP and other energy efficiency advocates point to the potential of using a total systems benefit metric to provide a single dollar estimate of the value from EE that accounts for the value of when energy is used and how it is generated. As such, the metric may be able to inform better program design. The TSB captures additional benefits of savings during the hours that are costliest for the grid; it is calculated by looking at the avoided hourly costs for energy use, generation capacity, and demand reduction. Request discussion of the feasibility and potential benefits of adopting a TSB metric.
2025-09-23 | IEc/OCA | Residential programming | Request discussion of the potential for piloting a pay-for-performance approach. | Some jurisdictions and programs use pay-for-performance approaches to align contractor incentives with program goals. These programs can be used to pursue different types of goals, such as ability to claim actual savings, which may be higher than deemed or modeled saving; incentivize adoption of specific technologies of interest; and/or help to ensure quality workmanship and transfer risk of measure failure to contractors. Request discussion of the potential for piloting this approach within NH Saves.
2025-09-23 | IEc/OCA | Gas residential programming | Clarify residential gas programming initial utility proposal. | Some states are phasing out all or some residential gas EE programming; in particular for appliance rebates given the phase out of federal EnergyStar rating for gas appliances. Will NH utilities propose continuing gas EE programming under the new triennial plan under the Home Performance Program and/or under an appliance program?
2025-09-23 | IEc/OCA | Residential programming | Request discussion of home upgrade hub concept. | As detailed in recent NEEP report on energy efficiency in NH, deferrals, typically for health and safety issues, are a common barrier to residential LMI EE investments. NEEP and other advocates point to the success of using a home upgrade hub approach to help residents access and stack available resources, typically by providing access to a navigator that helps residents identify and combine available fund and financing.. Request discussion of the potential and feasibility of establishing a home upgrade hub as part of the next triennial plan.
2025-09-23 | IEc/OCA | HEA program | Consider how HEA program is factored into residential cost-effectiveness analysis. | Request discussion of how HEA cost-effectiveness is currently factored into overall residential cost-effectiveness approach. Some other states limit or remove LMI programming from cost-effectiveness testing requirements, given that the purpose of LMI programming is to ensure equity in access to EE and to address energy poverty, as opposed to ensuring economic efficiency. Given the constraints faced by utilities in administering NH Saves, it seems reasonable to explore the use of financial levers that are within the utilities' influence, and may help meet ratepayer demand for cost-effective EE assistance.
2025-09-23 | IEc/OCA | Stakeholder Process | Attribute comments to their authors. | There is a long history of trust and collaboration among many, perhaps even all, of the stakeholders involved in this process. It would be consistent with that spirit, and conducive to consensus-building, if comments posted here were attributed to their authors. The alternative -- authorship known only to the utilities -- creates unhelpful information asymmetry. If there is perceived value in a mechanism for anonymous comments the facilitator can, perhaps, agree to withhold the identity of comments transmitted to her directly in special circumstances.
2025-10-25 | GDS Associates, Inc. | C&I Programs | Recommend adding a prescriptive BMS offerring and accompanying custom express analysis tool for the upcoming plan. | MA has made good progress recently in this area tht could be brought into NH. A prescritpive offerring and accompanying custom express analysis tool would streamline this offerring with controls contractors compared to the current custom only approach. List of MassSave tools and offer here: https://www.masssave.com/trade-partners/business-quick-tools-and-resources
2025-10-25 | GDS Associates, Inc. | C&I Programs | Recommend the plan include emphasis on engaging more HVAC and electrical contractors, syncing implementation and WFD efforts | Contractor engagement in the C&I space is going to be critical to achieving savings beyond lighting. This group of contractors is not as engaged as the could be in part due to past program disruptions and closures. A focus on engaging, supporting, and educating these contractors could be a meaningful focus of the plan
2025-10-25 | GDS Associates, Inc. | C&I Programs | Discussion regarding the role of CHP in the upcoming plan and how the measure impacts the 65% requirement would be useful | CHP is a measure that provide meaningful costand MMBtu reduction for sites with the right characteristics. Understanding the current state of CHP in NH and how these systems would positively or negatively impact the 65% requirement would be helpful to understand for planning
2025-10-25 | GDS Associates, Inc. | C&I Programs | Consider whether there is a role for system commissioning in the upcoming triennial plan | System commissioning is hugely important to the efficient operation of mechancial systems, yet it is specifically excluded from the NH Energy Code. Is there a role for NHSaves to fill this void and claim savings?
2025-10-28 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Commercial & Industrial Program, Small Business | Provide searchable project descriptions, case studies and incentive programs specific to small businesses (i.e., auto body shops, small manufacturing, food processing, retail, construction) on NHSaves website, which is referenced in most advertising, helping to find relevant resources. | NHSaves increased marketing efforts are well recognized (including spots on NHPR and billboards), which point to the NHSaves website. The NHSaves website and programs are currently organized in incentive programs for Residential and Business/Municipalities. Suggest breaking out small businesses and adding a search feature by types of businesses. Small businesses could more easily navigate and find project descriptions and incentives applicable to their business. The USDOE Better Buildings Initiative and their Better Buildings Solution Center may provide solutions how to add search functionality and references to energy efficiency programs - as an example, we found resources under Upgrading Commercial Laundry Facilities. The recent NHSaves article on Small Businesses, Big Energy Savings, provides a great overview of energy efficiency solutions and links to relevant resources in one place. Perhaps adding relevant small business case studies here would be another recommendation.
2025-10-28 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Commercial & Industrial Program, Large C/I | Frequent NHSaves articles on latest energy-saving technologies, with current incentive and support programs are very helpful reminders and resources for businesses for their ongoing efforts in identifying energy efficiency and cost saving opportunities. | Frequent articles on latest energy-saving technologies, with current incentive and support programs are very helpful reminders and resources for businesses. A good example is NHSaves article “Commercial HVAC: 15 Energy-Saving Technologies.” Recommend linking relevant case studies project summaries and incentive programs, which help businesses find similar projects and applications as they are exploring ways to adopt energy efficiency measures. Other areas of interest could be combined heat and power (CHP) for businesses and organizations needing to generate onsite electricity and utilizing heat recovery.
2025-10-28 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Commercial & Industrial Program, Municipalities | CENH Energy Circuit Riders are providing no-cost technical assistance to NH communities and businesses, and referring to them as resource along with project examples under NHSaves website would be useful for cross-reference. | NH communities and businesses looking up NHSaves to identify case studies and incentive programs for energy efficiency would benefit from finding contact information and a link to NH Energy Circuit Riders.
2025-10-29 | Not provided | Residential Program – ENERGY STAR Products / Home Performance | Ground source heat pumps (GSHPs) should receive the same incentives as air source heat pumps (ASHPs) in the residential NHSaves programs. | The 2024–2026 NHSaves Plan offers consistent prescriptive and midstream incentives for ASHPs but does not provide comparable treatment for GSHPs, despite their higher efficiency, deeper carbon reductions, and significant grid benefits. GSHPs deliver 300–500% efficiency, reduce summer and winter peak demand, and perform optimally in New Hampshire’s climate. Including GSHPs in the prescriptive incentive tables at parity with ASHPs, and integrating them into midstream distributor offerings, would ensure equitable homeowner access and align incentives with lifecycle performance and emissions outcomes.
2025-10-29 | Not provided | C&I Program – HVAC Incentives | GSHPs should also qualify for prescriptive incentives at the same level as ASHPs under C&I programs. | Under the 2024–2026 NHSaves Plan and 2025 NH C&I HVAC Flyer, ASHPs receive standardized midstream and prescriptive rebates, while GSHPs are treated as custom projects with variable incentives and higher participation barriers. This structure disincentivizes the most efficient HVAC investments, even when GSHPs demonstrate superior coefficient of performance (COP), lifetime savings, and emissions reductions. Incorporating GSHPs into the prescriptive HVAC incentive framework, at rebate parity with ASHPs on a $/ton basis, would enable commercial and industrial customers to adopt the most efficient electrification technologies without penalty.
2025-11-26 | New Hampshire Department of Environmental Services | ConnectedSolutions: Support Active Demand Response and Battery Storage Solutions | ConnectedSolutions offerings with battery storage, support both active demand response to lower peak demand on the grid, and provide back-up power capability to residents in New Hampshire. This is especially important due to the increase in electrification measures (growing heat pump and EV adoption) and more frequent weather related outtages events. In addition, battery storage systems provide an opportunity to upgrade older / replace end of life fossil fuel fired back-up power systems, reducing emissions. | The NHSaves participating utilities are already providing innovative solutions to address peak demand reduction and battery storage solutions through pilot programs, which in some cases have developed into ongoing programs (i.e., Eversource ConnectedSolutions). Continuation and increased adoption of these measures would synergistically support much needed load curtailment during peak hours and resilience via battery system back-up power. Perhaps, it would be valuable to briefly review the current and planned offerings of the utilities (i.e., Eversource - Connected Solutions, Liberty - Battery Storage Phase One/Two pilot programs, Electric Co-op AMI technology, and Unitil) during the next stakeholder call in Dec. 2025. Expanding these offerings to include Residential BYO Devices as well as enrollment of residential and commercial batteries (i.e., supporting small businesses) would provide additional benefits.
2025-11-27 | New Hampshire Department of Environmental Services | ES Homes | Great update on ES Homes and achieving over 25% of market share of new homes built in NH and increasing HERS raters in the state. We understand that NHSaves also incentivises Commercial New Construction or Major Renovation - will this be covered under a later stakeholder call? | NHSaves Commercial New Construction or Major Renovation currently offers 3 Pathways for incentives (see below). It would be great to learn how the program has been utilized. It is unclear where benchmarks for energy efficiency targets and budgets are described in the NHSaves 2024-2026 plan and we would appreciate if you could provide guidance before discussing this. Net Zero/Low EUI Buildings >Min. 10,000 sf of heated and cooled space Performance Buildings >Project with min. 5,000 sf of conditioned space Systems Pathway >Project w. energy-efficient equipment/systems
2025-11-28 | New Hampshire Department of Environmental Services | Stakeholder Feedback Follow up | We understand that NHSaves also incentivises residential heat pump system installations under the Residential Energy Efficiency Rebates program - will this be covered under a later stakeholder call? | With NHDOE developing their HEAR program and with NHDES participating in the implementation of the NE Heat Pump Accelerator, coordination of programs and complementing incentives within NH will be important, particularly for customers/homeowners as recipients. It would be great to learn how the program has been utilized and more specifically, what types of heat pumps in what types of building scenarios were incentivised to get a sense of the adoption rate. Some of this information might be also available as part of the ISO-NE 2025 CELT Heatpump Forecast.
2025-12-10 | OCA | On-bill financing | The absolute numbers of households participating in on-bill financing seem quite low in 2024 and 2025 (see attached screenshots of annual and quarterly reporting data), indicating a need for better communication of on-bill financing options and/or expanding the options themselves. | Across the residential programs for 2024, Eversource had 33 projects that used on-bill financing; Unitil had 14; Liberty had 3. Looking at quarterly reporting data, in the first 3 quarters of 2025, the numbers look worse: 12 Eversource projects receiving on-bill financing , 7 for Unitil, and 2 for Liberty. OCA has the following comments and recommendations: *We agree with the utilities that including clear, standardized information on financing options in the HEP and HEA applications should help boost on-bill financing participation, especially since the utilities are aware that some contractors are not communicating about this financing option to customers. We further suggest posting this information clearly on the NH Saves website. *We request information on how the utilities may adjust the thresholds for on-bill financing to expand access to on-bill financing, or if the utilities are considering other specific mechanisms for expanding access. *We request information on if/how the utilities will standardize the on-bill financing options across them. *We recommend that the utilities consider setting targets for on-bill financing participation given low levels of participation to date.
2025-12-16 | New Hampshire Department of Environmental Services | Home Energy Assistance & Home Energy Performance programs | Recommend a side-by-side comparison of the HEA and HEP programs. | We recommend a side-by-side comparison (i.e., table) of the HEA and HEP programs so that utility customers interested in incentives for their homes (rental units) can get a better understanding of which NHSaves program they are eligible, and which one provides more targeted incentives to their home since measures funded under both programs are quite similar. This would be a chart in addition to the detailed program incentives and rebate descriptions. Even for us as professionals in the field it is not easy to maneuver the current and upcoming residential energy efficiency programs in NH. For example, heat pumps are being incentivized by multiple organizations (i.e., NHSaves, NHDOE, NHDES) with multiple programs (i.e., HEA, HEP, HEAR, HER, NEHPA, etc.). Smart information presentation and marketing will make a difference in how programs are perceived or utilized and ultimately have an impact on customer satisfaction and overall program success.
2025-12-19 | OCA | HEP | Please provide information on the drivers of what appears to be a low HEP participation rate and strategies for addressing it. | The HEP program is on the agenda for the Dec meeting. We reviewed quarterly reporting for the program. We note that through Q2 2025, the midpoint of the 2024 - 2206 plan, HEP program has expended 41% of funds, but was at 26% of its participation target. Eversource in particular reached only 19% of the participation target. What are the drivers of low participation at the midpoint of the current triennial plan? if utilities are facing barriers in attracting participants, what strategies are being considered to boost participation under the next triennial plan?
2026-01-29 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Products Program | Instant Rebates (E-Commerce, Retail, and Distributor Warehouses): the product list currently includes heat pump water heaters, however heat pumps are currently not included. | Instant Rebates (E-Commerce, Retail, and Distributor Warehouses): the product list currently includes heat pump water heaters, however heat pumps are not included. Based on the official launch of the NEHPA Midstream Program on Feb. 1, 2026, we understand that NHSaves is providing instant rebates for heat pumps stacked with the NEHPA midsream incentive of $650 for ENERGY STAR v6.1 cold climate air-source heat pump HVAC equipment.
2026-01-29 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Products Program | Overlap with IRA funded programs such as NHDOE HEAR program and the NEHPA. | We propose a follow-up meeting with NHSaves, VEIC and NHDES to discuss stacking of programs and differentiation of approaches involving supplemental heat pump systems implementation versus fuel switching.
2026-01-29 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Products Program | Products - Potential Changes and Considerations: (1) Adjusting Rebates for Heat Pumps and Heat Pump Water Heaters to enhance cost effectiveness. (2) Explore setting up an educational contractor network for HVAC and Water Heating, to promote contractor trainings as well as provide a central hub of information on the NH programs and various funding streams. | We applaud both Potential Changes and Considerations, specifically regarding: (1) We believe that specifically for low income customers, higher rebates for Heat Pumps and Heat Pump Water Heaters will be needed for adoption of the still expensive technology as it is transitioning to mainstream applications over the next few years. (2) We agree that setting up an educational contractor network for HVAC and Water Heating, to promote contractor trainings as well as provide a central hub of information on the NH programs and various funding streams will be very valuable. Contractors are often the first customer contact and therefore broadening education in energy efficiency technologies and incentive programs for NH homes will be critical to address challenges i.e., prioritization of measures (higher 'bang for the buck', 'Lost Opportunity' to promote high efficiency equipment challenges. We support the idea of a central hub of information and advocate for concierge services that would educate homeowners to identify and pursue measures with the best return of investment.
2026-01-29 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Products Program | NHSaves Program Design (Stakeholder Slides, Page 15): •NH HP rebates are much lower than otherstates •Programs that promote fuel switching claim MMBtu savings and kWh penalties •Performance Incentive rewards utilities forsaving ELECTRICITY, with less emphasis on fossil fuels •Fuel switching can result in significant ENERGY savings, but negative ELECTRICITY savings •A maximum of 35% of NHSavesenergy savings (portfolio wide for each electric utility) cancome from fossil fuels | We agree with the findings and observations made by NHSaves and are considering what other steps can be taken to provide additional incentives for heat pump adoption in New Hampshire given some of the challenges outlined (see Stakeholder Slides, Page 15). We suggest to further explore Time of Use Rates specifically for operation of residential heat pumps and heat pump water heaters, which may significantly increase electricity costs for homeowners trying to adopt HP and HPWH to allow for a discounted rate (i.e., as offered in MA). This may also require options for Advanced Metering Infrastructure (AMI) for residential customers, which we mentioned in a previous session.
2026-01-29 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Weatherization (Follow-up) | Home Heating Index (HHI): Customers are qualified for programs and incentives using the HHI, which is calculated by dividing the annual home fuel use by the square footage of the heated space. | Some home owners who take proactive measures to reduce fuel consumption (i.e., lowering room temperatures, adjusting thermostats, not heating rooms when unoccupied, utilizing small supplemental heating for personal comfort, etc.) may not qualify for weatherization measures and even a free energy assessment, despite their behavior toward energy efficiency. Basing incentives on fuel consumption only without additional information (i.e., occupant behavior, comparable building stock, energy assessment data) may not provide a full picture, a true comparison between similar buildings, and perhaps send a wrong signal.
2026-01-29 | New Hampshire Department of Environmental Services | NHSaves 2027-2029 Programming: Products Program | Where do Performance Incentive rewards come from? | A comment on slide 15 of the PowerPoint presenation that was presented for this topic showed the following bulleted point: "Performance Incentive rewards utilities for saving electricity, with less emphasis on fossil fuels." NHDES would like to know where these Performance Incetives come from regarding who sets them and if they can be adjusted to better suit fuel switching opportunites for homeowners.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Expand, Coordinate, and Modernize On-Bill Financing Options | The next three-year plan should include a clear roadmap to expand on-bill financing opportunities, particularly for market-rate customers and non-income-qualified projects. While existing financing mechanisms have proven effective in supporting income-eligible participants, access to capital remains a major barrier to broader market adoption of efficiency and electrification measures. Expanding on-bill repayment options would help unlock participation among homeowners and small businesses that do not qualify for low-income programs but still face up-front cost challenges. This expansion should include: • Flexible underwriting criteria, longer repayment terms, and increasing the current Eversource cap that limits residential on-bill financing to two years and $2,000. Unitil and Liberty have much higher caps and longer repayment terms. Harmonizing on-bill financing offerings across utilities, and marketing to ratepayers in a coordinated manner, should help ratepayers access NHSaves benefits and is aligned with the NH Saves programmatic approach. • Posting relevant information on on-bill financing in a prominent location on the NHSaves website, on utility websites, and on relevant brochures that contractors provide to customers. This information should include key eligibility criteria and terms, and a link to a simple online application form. • Coordination with lenders already active in New Hampshire’s clean energy marketplace. • Finally, utilities should set targets for on-bill financing participation given low levels of participation to date.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Increase and Broaden Budgets for Active Demand Response (ADR) | Active Demand Reduction programs have demonstrated strong potential to reduce peak load and system costs, and ADR programs typically perform well on cost-effectiveness testing including TRC tests and variants thereof. However, current ADR budgets remain limited and largely focused on commercial customers. The next plan should meaningfully expand total ADR funding and explicitly open program eligibility to residential customers. With the proliferation of smart thermostats, controllable heat pumps, EV chargers, and home batteries, residential ADR represents an untapped resource for both customer savings and system reliability. A scaled-up, inclusive ADR portfolio will be critical to achieving a cost-effective transition to a more flexible, decarbonized grid.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Align Energy Efficiency Planning with Distribution System Planning | Energy efficiency programs should be strategically aligned with utilities’ distribution grid planning processes. Efficiency and load flexibility investments can and should serve as nonwires alternatives that defer or eliminate the need for traditional infrastructure upgrades. The next plan should require regular coordination between the Energy Efficiency and Demand Reduction (EE/DR) working groups and utility distribution planning teams, as well as shared use of locational data on system constraints. This alignment will ensure that ratepayer-funded efficiency investments deliver maximum grid and customer value.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Incorporate EM&V Protocols that Capture Hourly and Locational Value | Evaluation, Measurement, and Verification (EM&V) practices should evolve to quantify the time- and location-dependent benefits of specific measures. In particular, program evaluators should be directed to assess the hourly avoided costs of demand flexibility, electrification, and efficiency technologies— recognizing that measures which reduce load during high-cost hours provide disproportionate system benefits. This improvement will allow the program administrators and regulators to better target measures with the greatest total value and to integrate efficiency planning with broader grid modernization objectives.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Improve Coordination Between Weatherization and Heat Pump Programs | The plan should establish a framework for integrated delivery of building envelope and heat pump incentives. Too often, customers encounter separate pathways for weatherization and electrification, leading to suboptimal project sequencing, missed opportunities, and increased administrative friction. Better coordination— whether through joint audits, combined contractor training, or streamlined customer pathways— would enhance both program efficiency and participant outcomes. Ensuring that envelope upgrades precede or coincide with heat pump installation will maximize energy savings, improve comfort, and ensure proper equipment sizing.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Reduce Discount Rate in BCA models to 2.0% | We recommend reducing the discount rate for BCA testing to 2.0%. The 2019 Granite State Test (GST) manual advises NH utilities to continue to use a low-risk discount rate with BCA testing. However, neither State policy nor the GST manual prescribes a specific rate. As such, it is within the purview of NH utilities to propose a specific discount rate for BCA testing for NHSaves. In 2023, the US Office of Management and Budget, which sets the discount rate to be used in all US government cost-benefit analyses, updated its guidance (Circular A-4) to require using a 2.0% discount rate when evaluating impacts of federal policy, including energy policy. This change reflects the evolution in economics literature regarding appropriate use of discount rates for assessing public policy impacts; current economics literature stresses the importance of using a low-risk discount rate for this purpose. OMB arrived at 2.0% by using a 30-year average of the yield on 10-year Treasury Inflated Protected Securities (TIPS), and after completing an extensive expert consultation process.
2026-02-04 | OCA/CLF/CENH | Joint recommendations for 2027-2029 NH Saves Triennial Energy Efficiency Plan | Exclude Low Income Programs from BCA testing | Low-income programs are mandated by State law to ensure that residents with the most need have access to utility programs that can reduce energy burden. The purpose of low-income programs is to ensure equitable access; they are not designed or expected to pay for themselves through their energy savings. As such, they should not be included in BCA testing for the portfolio. States including Pennsylvania and Iowa take this approach of removing low-income programming from the portfolio-level BCA calculation. Several other states include significant non-energy benefit adders for low-income programming, but the Granite State Test may preclude this approach. As such, we recommend simply removing the low-income programming from BCA testing.
2026-02-20 | IEc and OCA | Marketing | Use rebate forms, financing applications, and other standard paperwork to ask NHSaves participants how they heard about NH Saves. | Utilities indicated on the Feb call that they have no information on the effectiveness of NHSaves marketing efforts, other than website hits and data on the length of time on website. It is impossible to know if the marketing budget is appropriate, and if materials are effective, without additional data. One stakeholder suggested including a "how did you hear about NHSaves" question on evaluations during the Feb stakeholder call, but that was rejected because evaluation surveys are already long. However, utilities could add a standard, multiple-choice question on rebate forms, financing applications, and other standard program paperwork to ask participants how they heard about NHSaves.
2026-02-19 | OCA | Retail Products Platform (RPP) | Recommends against inclusion of RPP in the next NHSaves plan due to lack of evidence supporting the program model, and poor fit for the NHSaves context. | We reviewed the three most recent program evaluations of the RPP program, conducted by NEEA, Energize Connecticut, and NYSEG. We recommend against inclusion of RPP in the next NHSaves plan due to: RPP model concerns: • Limited evidence that RPP reliably increases market share for ENERGY STAR products (and some evidence that RPP has failed to increas market share for target products). • Lack of evidence that RPP is more cost-effective in practice compared to providing traditional downstream incentive programs. • Significant challenges in measuring program impact. • Abandonment of RPP by some previous program sponsors. Poor fit for NHSaves context: • General budgetary constraints of NHSaves, commonly cited as a barrier to program reach and low resi participation relative to other NE states, underscore the importance of investing in proven program models. • Lack of margin of error in forecasting cost-effectiveness within NHSaves, given the constraints of the Granite State Test and the 65% rule. • Low likelihood of being able to pilot RPP in the same manner that utilities can pilot other programs, given the reliance on four national retail partners for implementation Links to evaluations: https://neea.org/wp-content/uploads/2025/03/Retail-Product-Portfolio-Market-Progress-Evaluation-Report-2.pdf https://www.energizect.com/sites/default/files/documents/CT%20R1973%20Retail%20Non-Lighting%20Final%20Results%20Presentation%20041321_Finalx2.pdf https://www.energizect.com/sites/default/files/documents/CT%20R1973%20Retail%20Non-Lighting%20Final%20Results%20Presentation%20041321_Finalx2.pdf
2026-02-20 | IEc and OCA | Marketing | Use rebate forms, financing applications, and other standard paperwork to ask NHSaves participants how they heard about NH Saves. | Utilities indicated on the Feb call that they have no information on the effectiveness of NHSaves marketing efforts, other than website hits and data on the length of time on website. It is impossible to know if the marketing budget is appropriate, and if materials are effective, without additional data. One stakeholder suggested including a "how did you hear about NHSaves" question on evaluations during the Feb stakeholder call, but that was rejected because evaluation surveys are already long. However, utilities could add a standard, multiple-choice question on rebate forms, financing applications, and other standard program paperwork to ask participants how they heard about NHSaves.
2026-02-19 | OCA | Retail Products Platform (RPP) | Recommends against inclusion of RPP in the next NHSaves plan due to lack of evidence supporting the program model, and poor fit for the NHSaves context. | We reviewed the three most recent program evaluations of the RPP program, conducted by NEEA, Energize Connecticut, and NYSEG. We recommend against inclusion of RPP in the next NHSaves plan due to: RPP model concerns: • Limited evidence that RPP reliably increases market share for ENERGY STAR products (and some evidence that RPP has failed to increas market share for target products). • Lack of evidence that RPP is more cost-effective in practice compared to providing traditional downstream incentive programs. • Significant challenges in measuring program impact. • Abandonment of RPP by some previous program sponsors. Poor fit for NHSaves context: • General budgetary constraints of NHSaves, commonly cited as a barrier to program reach and low resi participation relative to other NE states, underscore the importance of investing in proven program models. • Lack of margin of error in forecasting cost-effectiveness within NHSaves, given the constraints of the Granite State Test and the 65% rule. • Low likelihood of being able to pilot RPP in the same manner that utilities can pilot other programs, given the reliance on four national retail partners for implementation Links to evaluations: https://neea.org/wp-content/uploads/2025/03/Retail-Product-Portfolio-Market-Progress-Evaluation-Report-2.pdf https://www.energizect.com/sites/default/files/documents/CT%20R1973%20Retail%20Non-Lighting%20Final%20Results%20Presentation%20041321_Finalx2.pdf https://www.energizect.com/sites/default/files/documents/CT%20R1973%20Retail%20Non-Lighting%20Final%20Results%20Presentation%20041321_Finalx2.pdf
2026-02-24 | The JPI Group | Workforce Development | NHSaves has the potential to further workforce development programs by tying savings and market transformation performance to workforce investments. | NHSaves should be commended for elevating workforce development as a core strategic priority within the 2027–2029 Energy Efficiency Plan. The breadth of technical training offerings and clearly articulated objectives around sustaining engagement, expanding introductory access, and enhancing proficiency reflect a strong commitment to long-term market capacity and industry readiness. As the portfolio continues to evolve, particularly with growth in heat pumps, envelope measures, and other emerging technologies, NHSaves may consider a broader effort to more explicitly connect workforce investments to savings performance and market transformation outcomes. This could include quantifying savings attributable to workforce programs, examining the relationship between trained contractor capacity and program throughput, evaluating impacts on realization rates and quality assurance results, and assessing how workforce investments support adoption of new technologies. NHSaves may also want to explore forward-looking workforce capacity modeling tied to future savings targets and electrification goals. Taking these steps would help ensure workforce dollars are strategically aligned with measurable savings impacts while strengthening long-term workforce resilience and adaptability.